## Configuration_template
Header_YourData | Header_CFARS_Python | Site Metadata | Selection | If Option Selection is Other, Note Here | Key Cleaning Flags/Filters Applied | Selection | Notes | NDA status | Selection
|  | CFARS Region: |  |  | Tower Distortion using Conservative Method? | Y |  | set up with IFPEN to run WiSE? | N
|  | Terrain: |  |  | Anemometer Icing? | Y
|  | Primary Comparison Height (m): |  |  | Wind Speed Outliers? | N
|  | Season: |  |  | Sensor Degradation? | N
|  | Distance between RSD and Mast: |  |  | RSD Low Data Availability Filter? | Y
|  | RSD Type: |  |  | RSD Low CNR Filter? | Y
|  | Reference Anemometer Type: |  |  | Is the RSD wind speed corrected? | N
|  | Anemometer 2 Type: |  |  | Application of site-specific transfer function (slope/offset) | N
Reference Anemometer Class:
|  | Anemometer 2 Class: |  |  | ZX firware version | N/A
Does anemometer mounting meet Measnet/IEC Standards?
Additional Comparison Height 1 (m), optional
Additional Comparison Height 2 (m), optional
Additional Comparison Height 3 (m), optional
Additional Comparison Height 4 (m), optional
Anemometer Height 1 (m) Class, optional
Anemometer Height 2 (m) Class, optional
Anemometer Height 3 (m) Class, optional
Anemometer Height 4 (m) Class, optional
RSD shear exponent calculation Height 1 (lower height) (m), optional
RSD shear exponent calculation Height 2 (higher height) (m), optional
anemometer shear exponent calculation Height 1 (lower height) (m), optional
anemometer shear exponent calculation Height 2 (higher height) (m), optional

## Metadata
CFARS Region: | Terrain: | Season: | Distance between RSD and Mast: | RSD Type: | Reference Anemometer Type: | Anemometer 2 Type: | Reference Anemometer Class: | Anemometer 2 Class: | RSD TI Correction Method Applied: | Does anemometer mounting meet Measnet/IEC Standards? | Tower Distortion using Conservative CFARS Method? | Anemometer Icing? | Wind Speed Outliers? | Sensor Degradation? | RSD Low Data Availability Filter? | RSD Low CNR Filter? | Application of site-specific transfer function (slope/offset)
1 - North America | Simple | Winter (Dec, Jan, Feb) |  | Triton | Thies | 1 | 1 | 1 | GE | Y | Y | Y | Y (please note thresholds) | Y | Y (please note threshold) | Y (please note threshold) | Y (please note any applied function)
2 - North America | Moderate | Summer (Jun, Jul, Aug) |  | WindCube v1 | Vector | 2 | 2 | 2 | EON | N | N | N | N | N | N | N | N
3 - North America | Complex | Fall (Sep, Oct, Nov) |  | WindCube v2 | Riso | Other | Other | Other | L-TERRA |  | Other (Specify in Notes)
4 - North America | Other | Spring (Mar, Apr, May) |  | ZX | NRG #40 |  |  |  | ZX
5 - North America |  | Other |  | AQSystems | Vaisala |  |  |  | Vaisala
6 - North America |  |  |  | Fulcrum | Other
7 - North America |  |  |  | Gallion
8 - North America |  |  |  | Metek
9 - North America
10 - North America
11 - North America
12 - North America
13 - North America
14- North America
15- North America
16 - North America
17 - North America
1 - EU
2 - EU
3 - EU
4 - EU
5 - EU
6 - EU
7 - EU
8 - EU
9 - EU
10 - EU
11 - EU
12 - EU
13 - EU
14 - EU
15 - EU
16 - EU
17 - EU
18 - EU
19 - EU
20 - EU
21 - EU
22 - EU
23 - EU
24 - EU
25 - EU
26 - EU
27 - EU
28 - EU
29 - EU
30 - EU
31 - EU
32 - EU
33 - EU
34 - EU

## Lable
Ane2_SD
Ane2_TI
Ane2_WS
corrTI_RSD_TI
corrTI_RSD_WS
corrWS_RSD_TI
corrWS_RSD_WS
Ref_TI
Ref_SD
Ref_WS
RSD_SD
RSD_TI
RSD_WS
RSD_Direction
Timestamp
Ane_SD_Ht1
Ane_TI_Ht1
Ane_WS_Ht1
Ane_SD_Ht2
Ane_TI_Ht2
Ane_WS_Ht2
Ane_SD_Ht3
Ane_TI_Ht3
Ane_WS_Ht3
Ane_WS_Ht4
Ane_SD_Ht4
Ane_TI_Ht4
RSD_SD_Ht1
RSD_TI_Ht1
RSD_WS_Ht1
RSD_Direction_Ht1
RSD_SD_Ht2
RSD_TI_Ht2
RSD_WS_Ht2
RSD_Direction_Ht2
RSD_SD_Ht3
RSD_TI_Ht3
RSD_WS_Ht3
RSD_Direction_Ht3
RSD_WS_Ht4
RSD_SD_Ht4
RSD_TI_Ht4
RSD_Direction_Ht4
RSD_alpha_lowHeight
RSD_alpha_highHeight
Ane_alpha_lowHeight
Ane_alpha_highHeight
RSD_Temp
RSD_Pressure
RSD_Humidity
Hour

## RSD_Models
Triton
WindCube v1
WindCube v2
WindCubev2.1
ZX
AQSystems
Fulcrum
Gallion
Metek
spidar
No RSD